## COA
CERTIFICATE OF ANALYSIS
CERTIFICATE No: CAN/2014/10
PRODUCT: | PANADOL |  | REF NO: | LIMSTESTING
DATE RECEIVED | LABELCLAIM | Each tablet contains Pioglitazone Hydrochloride equivalent to 45mg of Pioglitazone
2014-10-07
BATCH No. BJ678 | PRESENTATION | Product Description
MFG. DATE | MANUFACTURER | MYLAN LABS LTD
2014-01-01
EXP. DATE: | ADDRESS | F-4 & F-12, MIDC, Malegaon, Sinnar, Nashik-422 113, Maharashtra, INDIA
2014-12-31
CLIENT REF NO | CLIENT | KEMSA P.O. BOX 47715-00100, NAIROBI
| TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution, Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | This is the | Wahat is that | None Deviated | COMPLIES
Identification | HPLC | compedia 1276 | RT of the major peaks in the sample preparation corresponds to those in the standard preparation | Super-imposable peaks at RT Values - y +/- x% min. present in the sample preparation | COMPLIES
Dissolution | HPLC | MoA 12227 | After 45 Mins | Paracetamol 17.26% (RSD = 37.27% ; n = 9) | COMPLIES
Assay | HPLC | MoA 1336 | Asssay Data | Paracetamol 93.97%(RSD = 48.4% ; n = 6) | COMPLIES
CONCLUSION: | The sample complies with the specifications of the tests perfomed.
ANALYST | Mary Magda | ________________ | DATE: 10-07-2014
ANALYST: | Ernest Mbae | ________________ | DATE: 10-08-2014
ANALYST: | Inventory Manager | ________________ | DATE: 10-13-2014