## Sheet1
Sulfran DS Tablets
NDQD201406515
each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg.
Sulphamethoxazole 900mg Trimethoprim 160 per tablets
2014-07-28 15:15:15
2

## Trimethoprim
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Sulfran DS Tablets
Laboratory Ref No: | NDQD201406515
Active Ingredient: | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg.
Label Claim: | Sulphamethoxazole 900mg Trimethoprim 160 per tablets
Date Analysis Started: | 2014-07-28 15:15:15
Date Analysis Completed:
Analysis Data
Reference Substance: | Trimethoprim
Code: | NQCL-WRS-T7-1
% age Purity: | 98.74
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 98.74
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.012
|  | Desired Weight as free base (mg): | 0.012
|  | Desired Weight as salt (mg): | 0.012
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Sulphamethoxazole 900mg Trimethoprim 160 per tablets
Each Capsule contains |  | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg.
Average Capsule Content Weight (mg):
Initial Sample dilution (mL): | 1 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 1 | Assay Smp A |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B |  | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1 | Assay Smp C |  | 1 |  | - | -
Desired Sample Weight (mg): | #DIV/0! |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 98%
[6 empty] | RSD: | 0.96%
[6 empty] | n: | 6
Comment | The content of | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg. |  | in the sample as a percentage of the stated label claim is |  | 98%
Determination of Active Ingredient Dissolved
Reference Substance: | Trimethoprim
Code: | NQCL-WRS-T7-1
% age Purity: | 98.74
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 98.74
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0
|  | Desired Weight as free base (mg): | 0
|  | Desired Weight as salt (mg): | 0
|  | Average Normalised Peak Area: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data: Acid Stage
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 99.5%
Sample Dilution Factor | 1 |  |  | RSD: | 6%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 9
Comment: | The amount of | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg. |  | dissolved as a percentage of the stated label claim is |  | 99.5%
Analysis Data: Buffer Stage
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 97%
Sample Dilution Factor | 1 |  |  | RSD: | 4%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 9
Comment: | The amount of | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg. |  | dissolved as a percentage of the stated label claim is |  | 97%
| Name |  |  | Date |  | Signature
Analysed by: | Clement
Reviewed By: | Ernest
2

## Sulfamethoxazole
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Sulfran DS Tablets
Laboratory Ref No: | NDQD201406515
Active Ingredient: | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg.
Label Claim: | Sulphamethoxazole 900mg Trimethoprim 160 per tablets
Date Analysis Started: | 2014-07-28 15:15:15
Date Analysis Completed:
Analysis Data
Reference Substance: | Sulfamethoxazole
Code: | NQCL-PRS-S12-1
% age Purity: | 0.998
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 0.998
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.012
|  | Desired Weight as free base (mg): | 0.012
|  | Desired Weight as salt (mg): | 0.012
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Sulphamethoxazole 900mg Trimethoprim 160 per tablets
Each Capsule contains |  | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg.
Average Capsule Content Weight (mg):
Initial Sample dilution (mL): | 1 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 1 | Assay Smp A |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B |  | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1 | Assay Smp C |  | 1 |  | - | -
Desired Sample Weight (mg): | #DIV/0! |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 97%
[6 empty] | RSD: | 0.56%
[6 empty] | n: | 6
Comment | The content of | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg. |  | in the sample as a percentage of the stated label claim is |  | 97%
Determination of Active Ingredient Dissolved
Reference Substance: | Sulfamethoxazole
Code: | NQCL-PRS-S12-1
% age Purity: | 0.998
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 0.998
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0
|  | Desired Weight as free base (mg): | 0
|  | Desired Weight as salt (mg): | 0
|  | Average Normalised Peak Area: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data: Acid Stage
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 99%
Sample Dilution Factor | 1 |  |  | RSD: | 56%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 9
Comment: | The amount of | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg. |  | dissolved as a percentage of the stated label claim is |  | 99%
Analysis Data: Buffer Stage
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 89%
Sample Dilution Factor | 1 |  |  | RSD: | 5%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 9
Comment: | The amount of | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg. |  | dissolved as a percentage of the stated label claim is |  | 89%
| Name |  |  | Date |  | Signature
Analysed by: | Clement
Reviewed By: | Ernest
2

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | Sulfran DS Tablets
Laboratory Ref No: |  | NDQD201406515
Active Ingredient: |  | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg.
Label Claim: |  | Sulphamethoxazole 900mg Trimethoprim 160 per tablets
Date Analysis Started: |  | 2014-07-28 15:15:15
Date Analysis Completed:
Analysis Data |  | Uniformity of weight
Capsule No. | Intact Capsule (mg) | Empty Shell (mg) | Capsule Content (mg) | % Deviation
1 | 250 | 10 | 240
2 | 250 | 10 | 240
3 | 250 | 10 | 240
4 | 250 | 10 | 240
5 |  |  | 0
6 |  |  | 0
7 |  |  | 0
8 |  |  | 0
9 |  |  | 0
10 |  |  | 0
11 |  |  | 0
12 |  |  | 0
13 |  |  | 0
14 |  |  | 0
15 |  |  | 0
16 |  |  | 0
17 |  |  | 0
18 |  |  | 0
19 |  |  | 0
20 |  |  | 0
Total | 1000 | 40 | 960
Average | 250 | 10 | 48 |  | None Deviates
| Average | % Deviation from mean
| 48 | -10% | 43.2
|  | 10% | 52.8
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:
6

## Relative Density
Please enter the required information in the cells highlighted in green
Relative Density Test Report
Sulfran DS Tablets
NDQD201406515
Sample Name: | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg.
Laboratory Ref No: | Sulphamethoxazole 900mg Trimethoprim 160 per tablets
Active Ingredient: | 2014-07-28 15:15:15
Label Claim:
Date Analysis Started:
Date Analysis Completed:
| Pyknometer Mass (g) | Pyknometer + Water (g) | Pyknometer + Sample (g)
| #DIV/0! | #DIV/0! | #DIV/0!
| Mass of Water (g): | #DIV/0!
| Mass of Sample (g): | #DIV/0!
| Relative Density of Sample: | 0.0001
| Name |  | Date | Signature
Analysed by:
Reviewed By:
17