## Uniformity
WachaNiqushw
Tablet weight
125 | -0.7937%
125 | -0.7937%
126 | 0%
128 | 1.587%
126 | 0%
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
630
126 | 116.55
135.45

## AD_Kibaki
Analysis Report
Sample Name: | Paracetamol Tablets 500 mg
Laboratory Ref No: | WachaNiqushw
Active Ingredient: | Paracetamol
Label Claim: | Each Tabltet contains Paracetamol 500 mg
Date Analysis Started: | 2015-01-14 10:38:23
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity: | 98
% Water content: | 0.95 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 10.96
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 212131313 | 1979493423.3991 | 424242424 | 3786676666.1377
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 131313131 | 1225342338.8769 | 242424224 | 2163815074.5795
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 424242422 | 3958798314.1175 | 242425354 | 2163825160.6633
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 255895622 | 2387878025.4645 | 303030667.3333 | 2704772300.4602
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 22 |  | 23
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 22 |  | 23
Standard Dilution Factor | 25 | Purity correction: | 2.4112 |  | 2.5208
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.096448 |  | 0.10083
|  | Desired Concetration (mg/mL): | 0.9
|  | Desired Weight as free base (mg): | 22.5
|  | Desired Weight as salt (mg): | 22.5
|  | Average Normalised Response: | 2546325162.9623
|  | RSD: | 42.63%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 125 | Kibaki
Each Capsule/Tablet contains | 125 | Paracetamol
Average Capsule/Tablet Content Weight (mg): | 125
Initial Sample dilution | 45 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 50 | Assay Smp A | 45 | 1 | 35353647 | 0.031239 | 0.02499%
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 47474747 | 0.04195 | 0.03356%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 35353535 | 0.031239 | 0.02499%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 46 | 1 | 43564422 | 0.037658 | 0.03013%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 56565445 | 0.048896 | 0.03912%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 64646465 | 0.055882 | 0.04471%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.9 | Assay Smp C | 47 | 1 | 33536664 | 0.028373 | 0.0227%
Desired Sample Weight (mg): | 0.81 |  |  | 2 | 34343535 | 0.029055 | 0.02324%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 35366464 | 0.029921 | 0.02394%
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 0.02971%
[6 empty] | RSD: | 26.54%
[6 empty] | n: | 9
Analysis Data: | Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity: | 98
% Water content: | 0.95 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 97.05
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 125
|  | Desired Weight as free base (mg): | 125
|  | Desired Weight as salt (mg): | 125
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity: | 98
% Water content: | 0.95 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 97.05
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 125
|  | Desired Weight as free base (mg): | 125
|  | Desired Weight as salt (mg): | 125
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | 0
RSD: | 0
n: | 0
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:

## AD_Bure
Analysis Report
Sample Name: | Paracetamol Tablets 500 mg
Laboratory Ref No: | WachaNiqushw
Active Ingredient: | Paracetamol
Label Claim: | Each Tabltet contains Paracetamol 500 mg
Date Analysis Started: | 2015-01-14 10:38:23
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity: | 102
% Water content: | 1 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.1
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 212131313 | 0 | 424242424 | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 131313131 | 0 | 242424224 | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 424242422 | 0 | 242425354 | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 255895622 | 0 | 303030667.3333 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 22 |  | 23
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 22 |  | 23
Standard Dilution Factor | 1 | Purity correction: | 21.582 |  | 22.563
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 21.582 |  | 22.563
Desired Concetration (mg/mL):
|  | Desired Weight as free base (mg): | 0
|  | Desired Weight as salt (mg): | 0
|  | Average Normalised Response: | 0
|  | RSD: | 0
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 250 | Bure
Each Capsule/Tablet contains | 250 | Paracetamol
Average Capsule/Tablet Content Weight (mg): | 125
Initial Sample dilution | 45 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 50 | Assay Smp A | 45 | 1 | 35353647 | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 47474747 | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 35353535 | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 46 | 1 | 43564422 | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 56565445 | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 64646465 | 0 | 0
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.9 | Assay Smp C | 47 | 1 | 33536664 | 0 | 0
Desired Sample Weight (mg): | 0 |  |  | 2 | 34343535 | 0 | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 35366464 | 0 | 0
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 0
[6 empty] | RSD: | 0
[6 empty] | n: | 0
Analysis Data: | Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity: | 102
% Water content: | 1 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 101
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 250
|  | Desired Weight as free base (mg): | 250
|  | Desired Weight as salt (mg): | 250
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity: | 102
% Water content: | 1 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 101
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 250
|  | Desired Weight as free base (mg): | 250
|  | Desired Weight as salt (mg): | 250
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | 0
RSD: | 0
n: | 0
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:

## AD_Kibaki 1
Analysis Report
Sample Name: | Paracetamol Tablets 500 mg
Laboratory Ref No: | WachaNiqushw
Active Ingredient: | Paracetamol
Label Claim: | Each Tabltet contains Paracetamol 500 mg
Date Analysis Started: | 2015-01-14 10:38:23
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 10 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 3 |  | 232
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 3 |  | 232
Standard Dilution Factor | 10 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.25
|  | Desired Weight as free base (mg): | 2.5
|  | Desired Weight as salt (mg): | 2.5
|  | Average Normalised Response: | 0
|  | RSD: | 0
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 125 | Kibaki
Each Capsule/Tablet contains | 125 | Paracetamol
Average Capsule/Tablet Content Weight (mg): | 0
Initial Sample dilution | 10 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 1 | Assay Smp A | 4 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 4 | 1 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 |  | 1 | 2 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | 0 | 0
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 10 | Assay Smp C | 5 | 1 |  | 0 | 0
Desired Sample Weight (mg): | 0 |  |  | 2 |  | 0 | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | 0 | 0
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 0
[6 empty] | RSD: | 0
[6 empty] | n: | 0
Analysis Data: | Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 125
|  | Desired Weight as free base (mg): | 125
|  | Desired Weight as salt (mg): | 125
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 125
|  | Desired Weight as free base (mg): | 125
|  | Desired Weight as salt (mg): | 125
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | 0
RSD: | 0
n: | 0
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By: