## COA
CERTIFICATE OF ANALYSIS
CERTIFICATE No: CAN/2015/19
PRODUCT: | Paracetamol |  | REF NO: | NDQSINGLECOMP
DATE RECEIVED | LABELCLAIM | Each tablet contains Pioglitazone Hydrochloride equivalent to 45mg of Pioglitazone
2015-01-19
BATCH No. 3525 | PRESENTATION | Yo think so daughter?
MFG. DATE | MANUFACTURER | MYLAN LABS LTD
2015-01-01
EXP. DATE: | ADDRESS | F-4 & F-12, MIDC, Malegaon, Sinnar, Nashik-422 113, Maharashtra, INDIA
2015-12-31
CLIENT REF NO | CLIENT | Chemonics Kenya Pharma LLC P.o Box 1325 00606 Nairobi, Kenya
| TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution, Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | MoA vol 10 pg 5 | specific to that |  | COMPLIES
Identification | HPLC | Identification compendia | RT of the major peaks in the sample preparation corresponds to those in the standard preparation | Super-imposable peaks at RT Values - 4.5 ± 10% min. present in the sample preparation | COMPLIES
Dissolution | HPLC | Compendia is real | After 30 Mins | paracetamol 0.18%(RSD = 0% ; n = 6) | COMPLIES
Assay | HPLC | Compendia vol 5 | specs vol 2 | paracetamol 10.08% (RSD = 0.17% ; n = 9) | COMPLIES
CONCLUSION: | The sample complies with the specifications of the tests perfomed.
ANALYST: | Mary Magda | ________________ | DATE: 01-19-2015
ANALYST: | Ernest Mbae | ________________ | DATE: 01-19-2015
DIRECTOR: | Michael Sangale | ________________ | DATE: 01-19-2015