## Uniformity
FANYATEST
Tablet weight
210 | -1.562%
211 | -1.094%
221 | 3.594%
213 | -0.1562%
211 | -1.094%
214 | 0.3125%
0
0
0
0
0
0
0
0
0
0
0
0
0
0
1280
213.3333 | 197.3333
229.3333

## AD_water2
Analysis Report
Sample Name: | PANADOL
Laboratory Ref No: | FANYATEST
Active Ingredient: | Paracetamol
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Date Analysis Started: | 2014-09-01 14:05:34
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 4545 | 0 | 545454 | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 5454 | 0 | 45454 | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 4545 | 0 | 4545 | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 4848 | 0 | 198484.3333 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 19.65 |  | 19.56
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 19.65 |  | 19.56
Standard Dilution Factor | 20 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.958
|  | Desired Weight as free base (mg): | 19.16
|  | Desired Weight as salt (mg): | 19.16
|  | Average Normalised Response: | 0
|  | RSD: | 0
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 100 | water2
Each Capsule/Tablet contains | 100 | Paracetamol
Average Capsule/Tablet Content Weight (mg): | 0
Initial Sample dilution | 23.95 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 25 | Assay Smp A | 51 | 1 | 45454 | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 45455 | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 45455 | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 52 | 1 | 45455 | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 45454 | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 45454 | 0 | 0
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.958 | Assay Smp C | 53 | 1 | 45454 | 0 | 0
Desired Sample Weight (mg): | 0 |  |  | 2 | 45454 | 0 | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 45454 | 0 | 0
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 0
[6 empty] | RSD: | 0
[6 empty] | n: | 0
Analysis Data: | Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 121 | 0 | 121 | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 121 | 0 | 1221221 | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 121 | 0 | 121 | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 121 | 0 | 407154.3333 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 5 |  | 6
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 5 |  | 6
Standard Dilution Factor | 50 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.11111
|  | Desired Weight as free base (mg): | 5.5556
|  | Desired Weight as salt (mg): | 5.5556
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 2121 | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 | 121 | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 2121 | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 1212 | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 121 | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 1212 | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 900 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 100
|  | Desired Weight as free base (mg): | 100
|  | Desired Weight as salt (mg): | 100
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | 0
RSD: | 0
n: | 0
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:

## Uniformity 1
FANYATEST
Tablet weight
125 | 0.1603%
126 | 0.9615%
123 | -1.442%
124 | -0.641%
126 | 0.9615%
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
624
124.8 | 115.44
134.16

## AD_water2 1
Analysis Report
Sample Name: | PANADOL
Laboratory Ref No: | FANYATEST
Active Ingredient: | Paracetamol
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Date Analysis Started: | 2014-09-01 14:05:34
Date Analysis Completed:
Analysis Data
Reference Substance: | Cefaclor Monohydrate
Code: | NQCL-WRS-C8-1
% age Purity: | 101.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 101.6
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 544 | 524.5059 | 646 | 102.1579
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 464 | 447.3726 | 6464 | 1022.212
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 6464 | 6232.3638 | 6464 | 1022.212
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 2490.6667 | 2401.4141 | 4524.6667 | 715.5273
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 19.6 |  | 119.5
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 19.6 |  | 119.5
Standard Dilution Factor | 20 | Purity correction: | 19.9136 |  | 121.412
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.99568 |  | 6.0706
|  | Desired Concetration (mg/mL): | 0.96
|  | Desired Weight as free base (mg): | 19.2
|  | Desired Weight as salt (mg): | 19.2
|  | Average Normalised Response: | 1558.4707
|  | RSD: | 148.7%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 100 | water2
Each Capsule/Tablet contains | 100 | Paracetamol
Average Capsule/Tablet Content Weight (mg): | 0
Initial Sample dilution | 24 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 25 | Assay Smp A | 51.5 | 1 | 464 | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 646 | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 464 | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 60.5 | 1 | 464 | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 4644 | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 464 | 0 | 0
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.96 | Assay Smp C | 19.5 | 1 | 46 | 0 | 0
Desired Sample Weight (mg): | 0 |  |  | 2 | 464 | 0 | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 46 | 0 | 0
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 0
[6 empty] | RSD: | 0
[6 empty] | n: | 0
Analysis Data: | Determination of Active Ingredient Dissolved
Reference Substance: | Cefaclor Monohydrate
Code: | NQCL-WRS-C8-1
% age Purity: | 101.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 101.6
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 100
|  | Desired Weight as free base (mg): | 100
|  | Desired Weight as salt (mg): | 100
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance: | Cefaclor Monohydrate
Code: | NQCL-WRS-C8-1
% age Purity: | 101.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 101.6
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 100
|  | Desired Weight as free base (mg): | 100
|  | Desired Weight as salt (mg): | 100
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | 0
RSD: | 0
n: | 0
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By: