## uniformity
MULTI
Tablet weight
200 | -10.75%
200 | -10.75%
200 | -10.75%
200 | -10.75%
220 | -1.83%
236 | 5.31%
245 | 9.326%
248 | 10.66%
246 | 9.772%
246 | 9.772%
0
0
0
0
0
0
0
0
0
0
2241
224.1 | 207.2925
240.9075

## AD_Lamivudine
Analysis Report
Sample Name: | PANADOL
Laboratory Ref No: | MULTI
Active Ingredient: | Paracetamol
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Date Analysis Started: | 2014-08-12 08:14:58
Date Analysis Completed:
Analysis Data
Reference Substance: | Lamivudine
Code: | NQCL-WRS-L3-1
% age Purity: | 96
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 96
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 4545 | 4613.0543 | 65331 | 691.2432
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 45412 | 46091.9735 | 31313 | 331.3113
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 1212 | 1230.1478 | 3133 | 33.1491
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 569852 | 17311.7252 | 545 | 351.9012
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 49.56 |  | 49.56
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 49.56 |  | 454
Standard Dilution Factor | 50 | Purity correction: | 47.5776 |  | 4564
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.95155 |  | 6646
|  | Desired Concetration (mg/mL): | 0.9658
|  | Desired Weight (mg): | 48.29
|  | Average Normalised Response: | 8831.8132
|  | RSD: | 207.5%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Each tablet contains | 125 | Lamivudine
Average tablet Content Weight (mg): | 224.1
Initial Sample dilution | 49.46 |  | Powder Weight (mg) | Injection | Response: | Amt per tablet (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 50 | Assay Smp A | 88.65 | 1 | 21155 | 5.7849 | 4.628%
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 13135 | 3.5918 | 2.873%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 31315 | 8.5632 | 6.851%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 89.569 | 1 | 31313 | 8.4748 | 6.78%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 13131 | 3.5539 | 2.843%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 13131 | 3.5539 | 2.843%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.9892 | Assay Smp C | 87.65 | 1 | 13131 | 3.6317 | 2.905%
Desired Sample Weight (mg) | 1.7128 |  |  | 2 | 31311 | 8.6598 | 6.928%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 54444 | 15.0578 | 12.05%
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 5.411%
[6 empty] | RSD: | 57.26%
[6 empty] | n: | 9
Comment | The content of | Lamivudine |  | in the sample as a percentage of the stated label claim is |  | 5.411%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lamivudine
Code: | NQCL-WRS-L3-1
% age Purity: | 96
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 96
Initial Standard dilution | 500 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 6 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 100 | 1 | 5454 | 0.68745 | 4545 | 0.63999
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 4545 | 0.57288 | 5455 | 0.76812
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 4545 | 0.57288 | 5454 | 0.76798
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 4848 | 0.61107 | 5151.3333 | 0.72537
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 286.95 |  | 256.86
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 286.95 |  | 256.86
Standard Dilution Factor | 8333.3333 | Purity correction: | 275.472 |  | 246.5856
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.033057 |  | 0.02959
|  | Desired Concetration (mg/mL): | 0.034722
|  | Desired Weight (mg): | 0.034722
|  | Average Normalised Peak Area: | 0.66822
|  | RSD: | 13.26%
|  | n: | 6
Medium Volume (mL): | 900 | tablet No. |  | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 25 | 1 | 5466 | 1022497.4815 | 817998%
1st Dilution Sample Final Volume (mL): | 100 | 2 | 4646 | 869104.1527 | 695283%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 4644 | 868730.0227 | 694984%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 4646 | 869104.1527 | 695283%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 6464 | 1209188.3864 | 967351%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 4646 | 869104.1527 | 695283%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 761030%
Sample Dilution Factor | 3600 |  |  | RSD: | 14.77%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:

## AD_Zidovudine
Analysis Report
Sample Name: | PANADOL
Laboratory Ref No: | MULTI
Active Ingredient: | Paracetamol
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Date Analysis Started: | 2014-08-12 08:14:58
Date Analysis Completed:
Analysis Data
Reference Substance: | Zidovudine
Code: | NQCL-WRS-Z1-1
% age Purity: | 99.7
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.7
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 4545 | 4558.2693 | 65331 | 1283.2875
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 45412 | 45544.5817 | 31313 | 615.0768
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 1212 | 1215.5385 | 3133 | 61.5411
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 569852 | 17106.1298 | 545 | 653.3018
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 89.658 |  | 87.598
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 89.658 |  | 454
Standard Dilution Factor | 100 | Purity correction: | 89.389 |  | 4564
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.89389 |  | 6646
|  | Desired Concetration (mg/mL): | 0.8965
|  | Desired Weight (mg): | 89.65
|  | Average Normalised Response: | 8879.7158
|  | RSD: | 203.1%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Each tablet contains | 130 | Zidovudine
Average tablet Content Weight (mg): | 224.1
Initial Sample dilution | 48.29 |  | Powder Weight (mg) | Injection | Response: | Amt per tablet (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 50 | Assay Smp A | 88.65 | 1 | 21155 | 5.2145 | 4.011%
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 13135 | 3.2377 | 2.491%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 31315 | 7.7189 | 5.938%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 89.569 | 1 | 31313 | 7.6392 | 5.876%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 13131 | 3.2035 | 2.464%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 13131 | 3.2035 | 2.464%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.9658 | Assay Smp C | 87.65 | 1 | 13131 | 3.2736 | 2.518%
Desired Sample Weight (mg) | 1.4926 |  |  | 2 | 31311 | 7.8059 | 6.005%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 54444 | 13.5731 | 10.44%
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 4.69%
[6 empty] | RSD: | 57.26%
[6 empty] | n: | 9
Comment | The content of | Zidovudine |  | in the sample as a percentage of the stated label claim is |  | 4.69%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Zidovudine
Code: | NQCL-WRS-Z1-1
% age Purity: | 99.7
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.7
Initial Standard dilution | 250 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 6 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 100 | 1 | 5454 | 1.2752 | 4545 | 1.0798
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 4545 | 1.0627 | 5455 | 1.296
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 4545 | 1.0627 | 5453 | 1.2955
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 4848 | 1.1335 | 5151 | 1.2238
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 148.95 |  | 146.59
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 148.95 |  | 146.59
Standard Dilution Factor | 4166.6667 | Purity correction: | 148.5032 |  | 146.1502
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.035641 |  | 0.035076
|  | Desired Concetration (mg/mL): | 0.036111
|  | Desired Weight (mg): | 0.034722
|  | Average Normalised Peak Area: | 1.1786
|  | RSD: | 10.28%
|  | n: | 6
Medium Volume (mL): | 900 | tablet No. |  | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 25 | 1 | 7897 | 871009.4037 | 670007%
1st Dilution Sample Final Volume (mL): | 100 | 2 | 5426 | 598467.3958 | 460360%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 1456 | 160591.3248 | 123532%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 8569 | 945128.4767 | 727022%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 6985 | 770419.2332 | 592630%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 8956 | 987813.1214 | 759856%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 555568%
Sample Dilution Factor | 3600 |  |  | RSD: | 42.7%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By: