## Sample Summary
DISSOLUTION MULTISTAGE
Sample Name:
Laboratory Ref No:
Active Ingredient:
Label Claim
Date Analysis Completed:
ASSAY | Component 1 | Component 2 | Component 3 | Component 4 | Component 5
Average | [5 empty] | Sample Concetration
Rsd
n
DISSOLUTION | [5 empty] | ASSAY STD PEAK AREAS
Average
Rsd | [15 empty] | PASTE YOUR WORKSHEET HERE
n | [5 empty] | Standard A
Sample Assay ABC - Component 1
Uniformity of Weight |  | Assay Standards 1 |  | Powder Weight
Tablet/Caps Average Weight |  | Standard A |  | Sample A |  | Standard B
|  | Standard B |  | Sample B
|  | Desired Weight |  | Sample C
Dissolution Tablet/Capsule Weights Component 1 |  | Concetration |  | API Weight
Tablet/Capsule |  | Assay Standards 2 |  | Sample A
1 |  | Standard A |  | Sample B
2 |  | Standard B |  | Sample C
3 |  | Desired Weight |  | Desired Weight Sample ABC
4 |  | Concetration |  | Powder Weight
5 |  | Assay Standards 3 |  | API Weight
6 |  | Standard A |  | Sample Assay ABC - Component 2
|  | Standard B |  | Powder Weight
Dissolution component 2 |  | Desired Weight |  | Sample A
1 |  | Concetration |  | Sample B
2 |  | Assay Standards 4 |  | Sample C
3 |  | Standard A |  | API Weight
4 |  | Standard B |  | Sample A
5 |  | Desired Weight |  | Sample B
6 |  | Concetration |  | Sample C
|  | Assay Standards 5 |  | Desired Weight Sample ABC
Dissolution component 3 |  | Standard A |  | Powder Weight |  | ASSAY SAMPLE PEAK AREAS
1 |  | Standard B |  | API Weight
2 |  | Desired Weight |  | Sample Assay ABC - Component 3
3 |  | Concetration |  | Powder Weight
4 |  |  |  | Sample A
5 |  | ASSAY STANDARDS REPEATS |  | Sample B
6 |  |  |  | Sample C
API Weight
Dissolution component 4 |  |  |  | Sample A
1 |  | Assay Standards 1 repeat |  | Sample B
2 |  | Standard A |  | Sample C
3 |  | Standard B |  | Desired Weight Sample ABC
4 |  | Desired Weight |  | Powder Weight
5 |  | Concetration |  | API Weight
6 |  | Assay Standards 2 repeat |  | Sample Assay ABC - Component 4
Dissolution Tablet/Capsule Weights |  | Standard A |  | Powder Weight
Dissolution component 5 |  | Standard B |  | Sample A
1 |  | Desired Weight |  | Sample B
2 |  | Concetration |  | Sample C
3 |  | Assay Standards 3 repeat |  | API Weight
4 |  | Standard A |  | Sample A
5 |  | Standard B |  | Sample B
6 |  | Desired Weight |  | Sample C
|  | Concetration |  | Desired Weight Sample ABC
DISSOLUTION REPEAT |  | Assay Standards 4 repeat |  | Powder Weight
Dissolution Tablet/Capsule Weights Component 1 |  | Standard A |  | API Weight |  | DISSOLUTION ABSORBANCES/AREAS
Tablet/Capsule |  | Standard B |  | Sample Assay ABC - Component 5
1 |  | Desired Weight |  | Powder Weight |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
2 |  | Concetration |  | Sample A |  | Time 1 | Time 2 | Time3 | Time 4 | Time 5 | Time 1 | Time 2 | Time3 | Time 4 | Time 5
3 |  | Assay Standards 5 repeat |  | Sample B
4 |  | Standard A |  | Sample C
5 |  | Standard B |  | API Weight
6 |  | Desired Weight |  | Sample A
|  | Concetration |  | Sample B
Dissolution component 2 |  |  |  | Sample C
1 |  |  |  | Desired Weight Sample ABC
2 |  |  |  | Powder Weight
3 |  |  |  | API Weight |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
4 | [5 empty] | Time 1 | Time 2 | Time3 | Time 4 | Time 5 | Time 1 | Time 2 | Time3 | Time 4 | Time 5
5 |  |  |  | SAMPLE ASSAY REPEAT
6
Sample Assay ABC - Component 1
Dissolution component 3 |  |  |  | Powder Weight
1 |  |  |  | Sample A
2 |  |  |  | Sample B
3 |  |  |  | Sample C
4 |  |  |  | API Weight
5 |  |  |  | Sample A |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
6 |  |  |  | Sample B |  | Time 1 | Time 2 | Time3 | Time 4 | Time 5 | Time 1 | Time 2 | Time3 | Time 4 | Time 5
Sample C
Dissolution component 4 |  |  |  | Desired Weight Sample ABC
1 |  |  |  | Powder Weight
2 |  |  |  | API Weight
3 |  |  |  | Sample Assay ABC - Component 2
4 |  |  |  | Powder Weight
5 |  |  |  | Sample A
6 |  |  |  | Sample B
Dissolution Tablet/Capsule Weights |  |  |  | Sample C |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
Dissolution component 5 |  |  |  | API Weight |  | Time 1 | Time 2 | Time3 | Time 4 | Time 5 | Time 1 | Time 2 | Time3 | Time 4 | Time 5
1 |  |  |  | Sample A
2 |  |  |  | Sample B
3 |  |  |  | Sample C
4 |  |  |  | Desired Weight Sample ABC
5 |  |  |  | Powder Weight
6 |  |  |  | API Weight
Sample Assay ABC - Component 3
| REPEAT VALUES |  |  | Powder Weight
Other Dissolution Data for components and repeats |  |  |  | Sample A |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
Desired Weight |  |  |  | Sample B |  | Time 1 | Time 2 | Time3 | Time 4 | Time 5 | Time 1 | Time 2 | Time3 | Time 4 | Time 5
Standard A |  |  |  | Sample C
Standard B |  |  |  | API Weight
Concetration |  |  |  | Sample A
Tablet Average Weight |  |  |  | Sample B
| Component 2 |  |  | Sample C
Other Dissolution Data |  |  |  | Desired Weight Sample ABC
Desired Weight |  |  |  | Powder Weight
Standard A |  |  |  | API Weight
Standard B |  |  |  | Sample Assay ABC - Component 4
Concetration |  |  |  | Powder Weight
Tablet Average Weight |  |  |  | Sample A |  | DISSOLUTION STD AREAS/ABSORBANCES
| Component 3 |  |  | Sample B
Other Dissolution Data |  |  |  | Sample C
Desired Weight |  |  |  | API Weight
Standard A |  |  |  | Sample A
Standard B |  |  |  | Sample B
Concetration |  |  |  | Sample C
Tablet Average Weight |  |  |  | Desired Weight Sample ABC
| Component 4 |  |  | Powder Weight
Other Dissolution Data |  |  |  | API Weight
Desired Weight |  |  |  | Sample Assay ABC - Component 5
Standard A |  |  |  | Powder Weight
Standard B |  |  |  | Sample A
Concetration |  |  |  | Sample B
Tablet Average Weight |  |  |  | Sample C
| Component 5 |  |  | API Weight
Other Dissolution Data |  |  |  | Sample A
Desired Weight |  |  |  | Sample B
Standard A |  |  |  | Sample C
Standard B |  |  |  | Desired Weight Sample ABC
Concetration |  |  |  | Powder Weight
Tablet Average Weight |  |  |  | API Weight
LABEL CLAIMS

## Uniformity
NDQD201406515
Tablet weight
1046.56 | 0.0911%
1044.85 | -0.07245%
1039.16 | -0.6166%
1047.12 | 0.1447%
1045.76 | 0.01458%
1049.23 | 0.3464%
1040.83 | -0.4569%
1038.51 | -0.6788%
1046.32 | 0.06814%
1048.07 | 0.2355%
1041.84 | -0.3603%
1052.07 | 0.6181%
1040.92 | -0.4483%
1041.91 | -0.3536%
1048.28 | 0.2556%
1052.52 | 0.6611%
1051.28 | 0.5425%
1044.22 | -0.1327%
1046.12 | 0.04901%
1046.58 | 0.09301%
20912.15
1045.6075 | 993.3271
1097.8879

## friability
| Weight of 20 Tablets/Capsules | Run
| Weight before Test(g) | 10487.91
| Weight after Test(g) | 10464.72
| Loss | 23.19
| Percentage Loss | 0.22%
| comments | COMPLIES
|  | Worksheet No | NDQD201406515
Analysis Report
Sample Name: | Sulfran DS Tablets
Laboratory Ref No: | NDQD201406515
Active Ingredient: | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg.
Label Claim: | Sulphamethoxazole 900mg Trimethoprim 160 per tablets
Date Analysis Started: | 2014-07-28 15:15:15
Date Analysis Completed:
Analysis Data
Reference Substance: | Trimethoprim
Code: | NQCL-WRS-T7-1
% age Purity: | 98.74
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.74
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 2 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 50 | 1 | 28296337 | 26959003.2909 | 26668715 | 26388889.8509
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 28296784 | 26959429.165 | 26667582 | 26387768.7391
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 28273852 | 26937580.9708 | 26668408 | 26388586.0721
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 28288991 | 26952004.4756 | 26668235 | 26388414.8874
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 21.26 |  | 20.47
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 21.26 |  | 20.47
Standard Dilution Factor | 625 | Purity correction: | 20.9921 |  | 20.2121
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.033587 |  | 0.032339
|  | Desired Concetration (mg/mL): | 0.032
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 26670209.6815
|  | RSD: | 1.158%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 160 | Trimethoprim
Each Capsule/Tablet contains | 160 | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg.
Average Capsule/Tablet Content Weight (mg): | 0
Initial Sample dilution | 32 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 100 | Assay Smp A | 203.49 | 1 | 24935030 | 0 | 0
1st Dilution Sample Final Volume (mL): | 5 |  |  | 2 | 24885544 | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 50 |  |  | 3 | 24847231 | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 208.25 | 1 | 25791167 | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 25706227 | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 25679572 | 0 | 0
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.032 | Assay Smp C | 211.64 | 1 | 26664362 | 0 | 0
Desired Sample Weight (mg): | 0 |  |  | 2 | 26633016 | 0 | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 26595842 | 0 | 0
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 0
[6 empty] | RSD: | 0
[6 empty] | n: | 0
Analysis Data: | Determination of Active Ingredient Dissolved
Reference Substance: | Trimethoprim
Code: | NQCL-WRS-T7-1
% age Purity: | 98.74
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.74
Initial Standard dilution | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 28296337 | 29954448.1011 | 26668715 | 29320988.7232
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 28296784 | 29954921.2944 | 26667582 | 29319743.0434
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 28273852 | 29930645.5232 | 26668408 | 29320651.1913
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 28288991 | 29946671.6395 | 26668235 | 29320460.986
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 21.26 |  | 20.47
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 21.26 |  | 20.47
Standard Dilution Factor | 25 | Purity correction: | 20.9921 |  | 20.2121
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.83968 |  | 0.80848
|  | Desired Concetration (mg/mL): | 0.88889
|  | Desired Weight as free base (mg): | 22.2222
|  | Desired Weight as salt (mg): | 22.2222
|  | Average Normalised Peak Area: | 29633566.3128
|  | RSD: | 1.158%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 28358660 | 153.1164 | 95.7%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 27866461 | 150.4589 | 94.04%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 28268855 | 152.6315 | 95.39%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 25752599 | 139.0456 | 86.9%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 28336785 | 152.9983 | 95.62%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 282330085 | 1524.3799 | 952.7%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 236.7%
Sample Dilution Factor | 180 |  |  | RSD: | 148.2%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance: | Trimethoprim
Code: | NQCL-WRS-T7-1
% age Purity: | 98.74
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.74
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 160
|  | Desired Weight as free base (mg): | 160
|  | Desired Weight as salt (mg): | 160
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | 236.7%
RSD: | 148.2%
n: | 6
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:

## AD_Sulfamethoxazole
Analysis Report
Sample Name: | Sulfran DS Tablets
Laboratory Ref No: | NDQD201406515
Active Ingredient: | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg.
Label Claim: | Sulphamethoxazole 900mg Trimethoprim 160 per tablets
Date Analysis Started: | 2014-07-28 15:15:15
Date Analysis Completed:
Analysis Data
Reference Substance: | Sulfamethoxazole
Code: | NQCL-PRS-S12-1
% age Purity: | 0.998
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0.998
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 50 | 1 | 355632787 | 34198222452.583 | 343210986 | 33682544913.529
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 355911470 | 34225021059.393 | 343373153 | 33698459897.268
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 355822903 | 34216504313.81 | 343481291 | 33709072503.479
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 355789053.3333 | 34213249275.262 | 343355143.3333 | 33696692438.092
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 20.84 |  | 20.42
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 20.84 |  | 20.42
Standard Dilution Factor | 125 | Purity correction: | 0.20798 |  | 0.20379
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.0016639 |  | 0.0016303
|  | Desired Concetration (mg/mL): | 0.16
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 33954970856.677
|  | RSD: | 0.834%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 800 | Sulfamethoxazole
Each Capsule/Tablet contains | 800 | each tablets contains sulphamethoxazole 900mg Trimethoprim 160mg.
Average Capsule/Tablet Content Weight (mg): | 0
Initial Sample dilution | 160 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 100 | Assay Smp A | 203.49 | 1 | 319506594 | 0 | 0
1st Dilution Sample Final Volume (mL): | 5 |  |  | 2 | 319629032 | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 50 |  |  | 3 | 319695314 | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 208.25 | 1 | 331938763 | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 332163900 | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 332095477 | 0 | 0
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.16 | Assay Smp C | 211.64 | 1 | 339106027 | 0 | 0
Desired Sample Weight (mg): | 0 |  |  | 2 | 339401343 | 0 | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 339380248 | 0 | 0
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 0
[6 empty] | RSD: | 0
[6 empty] | n: | 0
Analysis Data: | Determination of Active Ingredient Dissolved
Reference Substance: | Sulfamethoxazole
Code: | NQCL-PRS-S12-1
% age Purity: | 0.998
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0.998
Initial Standard dilution | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 355632787 | 189990124736.57 | 343210986 | 187125249519.61
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 355911470 | 190139005885.52 | 343373153 | 187213666095.93
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 355822903 | 190091690632.28 | 343481291 | 187272625019.33
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 355789053.3333 | 190073607084.79 | 343355143.3333 | 187203846878.29
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 20.84 |  | 20.42
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 20.84 |  | 20.42
Standard Dilution Factor | 25 | Purity correction: | 0.20798 |  | 0.20379
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.0083193 |  | 0.0081517
|  | Desired Concetration (mg/mL): | 4.4444
|  | Desired Weight as free base (mg): | 111.1111
|  | Desired Weight as salt (mg): | 111.1111
|  | Average Normalised Peak Area: | 188638726981.54
|  | RSD: | 0.834%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 360259087 | 1.5278 | 0.191%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 354719983 | 1.5043 | 0.188%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 358138045 | 1.5188 | 0.1899%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 326854748 | 1.3862 | 0.1733%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 360389792 | 1.5284 | 0.191%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 357615558 | 1.5166 | 0.1896%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0.1871%
Sample Dilution Factor | 180 |  |  | RSD: | 3.675%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance: | Sulfamethoxazole
Code: | NQCL-PRS-S12-1
% age Purity: | 0.998
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0.998
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 800
|  | Desired Weight as free base (mg): | 800
|  | Desired Weight as salt (mg): | 800
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | 0.1871%
RSD: | 3.675%
n: | 6
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By: