## Uniformity
NDQD201406561
Tablet weight
744.41 | -0.3382%
742.07 | -0.6515%
739.01 | -1.061%
757.36 | 1.396%
749.87 | 0.3928%
738.03 | -1.192%
740.3 | -0.8884%
758.38 | 1.532%
741.67 | -0.705%
745.04 | -0.2538%
751.04 | 0.5494%
741.93 | -0.6702%
752.28 | 0.7155%
740.66 | -0.8402%
754.12 | 0.9618%
749.41 | 0.3312%
746.13 | -0.1079%
755.59 | 1.159%
734.14 | -1.713%
757.28 | 1.385%
14938.72
746.936 | 709.5892
784.2828

## Identification
Analysis Report
Sample Name: | Axcel Valacyclovir-500
Laboratory Ref No: | NDQD201406561
Active Ingredient: | Valacyclovir Hydrochloride equivalent to Valacyclovir 500mg
Label Claim: | Each tablets contains Valacyclovir Hydrochloride equivalent to valacyclovir
Date Analysis Started: | 2014-08-07 08:45:11
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 11.72 |  | 13.32
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 11.72 |  | 13.32
Standard Dilution Factor | 50 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.25
|  | Desired Weight as free base (mg): | 12.5
|  | Desired Weight as salt (mg): | 12.5
|  | Average Normalised Response: | 0
|  | RSD: | 0
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 500 | Valacyclovir
Each Capsule/Tablet contains | 500 | Valacyclovir Hydrochloride equivalent to Valacyclovir 500mg
Average Capsule/Tablet Content Weight (mg): | 0
Initial Sample dilution | 125 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 50 | Assay Smp A | 148.9 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 5 |  |  | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 50 |  |  | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 147.3 | 1 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | 0 | 0
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.25 | Assay Smp C | 151.64 | 1 |  | 0 | 0
Desired Sample Weight (mg): | 0 |  |  | 2 |  | 0 | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | 0 | 0
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 0
[6 empty] | RSD: | 0
[6 empty] | n: | 0
Analysis Data: | Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Initial Standard dilution | 10 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.494 | 0 | 0.465 | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.493 | 0 | 0.464 | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.492 | 0 | 0.462 | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.493 | 0 | 0.46367 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 15.19 |  | 13.88
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 15.19 |  | 13.88
Standard Dilution Factor | 1000 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.55556
|  | Desired Weight as free base (mg): | 555.5556
|  | Desired Weight as salt (mg): | 555.5556
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 0.408 | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 | 0.415 | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.413 | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.412 | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.41 | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.414 | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 900 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 500
|  | Desired Weight as free base (mg): | 500
|  | Desired Weight as salt (mg): | 500
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | 0
RSD: | 0
n: | 0
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:

## AD_Valacyclovir 1
Analysis Report
Sample Name: | Axcel Valacyclovir-500
Laboratory Ref No: | NDQD201406561
Active Ingredient: | Valacyclovir Hydrochloride equivalent to Valacyclovir 500mg
Label Claim: | Each tablets contains Valacyclovir Hydrochloride equivalent to valacyclovir
Date Analysis Started: | 2014-08-07 08:45:11
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 167860467 | 0 | 193597217 | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 167905101 | 0 | 194210411 | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 167983131 | 0 | 193532082 | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 167916233 | 0 | 193779903.3333 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 11.72 |  | 13.32
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 11.72 |  | 13.32
Standard Dilution Factor | 50 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.25
|  | Desired Weight as free base (mg): | 12.5
|  | Desired Weight as salt (mg): | 12.5
|  | Average Normalised Response: | 0
|  | RSD: | 0
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 500 | Valacyclovir
Each Capsule/Tablet contains | 500 | Valacyclovir Hydrochloride equivalent to Valacyclovir 500mg
Average Capsule/Tablet Content Weight (mg): | 0
Initial Sample dilution | 50 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 5 | Assay Smp A | 148.9 | 1 | 157779045 | 0 | 0
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 157906659 | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 157875807 | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 147.3 | 1 | 159724336 | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 159291551 | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 159570798 | 0 | 0
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 500 | Assay Smp C | 151.64 | 1 | 165990461 | 0 | 0
Desired Sample Weight (mg): | 0 |  |  | 2 | 165993332 | 0 | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 165484183 | 0 | 0
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 0
[6 empty] | RSD: | 0
[6 empty] | n: | 0
Analysis Data: | Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 500
|  | Desired Weight as free base (mg): | 500
|  | Desired Weight as salt (mg): | 500
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 500
|  | Desired Weight as free base (mg): | 500
|  | Desired Weight as salt (mg): | 500
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | 0
RSD: | 0
n: | 0
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By: