## Sample Summary
Sample Name: | PANADOL
Laboratory Ref No: | NDQTEST!23
Active Ingredient: | paracetamol BP
Label Claim
Date Analysis Completed:
ASSAY | paracetamol | Component 2 | Component 3 | Component 4 | Component 5
Average | [5 empty] | Sample Concetration |  | 0.569
Rsd
n
DISSOLUTION | [5 empty] | ASSAY STD PEAK AREAS
Average | [6 empty] | paracetamol
Rsd | [6 empty] | 124 | [8 empty] | PASTE YOUR WORKSHEET HERE
n | [5 empty] | Standard A | 125
|  |  |  | Sample Assay - paracetamol |  |  | 12
Uniformity of Weight |  | Assay Standards - paracetamol |  | Powder Weight |  |  | 6
Tablet/Caps Average Weight | 125 | Standard A | 5 | Sample A | 5 | Standard B | 15
|  | Standard B | 9 | Sample B | 6 |  | 15
|  | Desired Weight | 5.69 | Sample C | 9
Dissolution Tablet/Capsule Weights Component 1 |  | Concetration | 0.569 | API Weight
Tablet/Capsule | paracetamol | Assay Standards 2 |  | Sample A | 5
1 | 125 | Standard A |  | Sample B | 6
2 | 125 | Standard B |  | Sample C | 9
3 | 125 | Desired Weight |  | Desired Weight Sample ABC
4 | 125 | Concetration |  | Powder Weight | 5.69
5 | 125125 | Assay Standards 3 |  | API Weight | 5.69
6 | 0 | Standard A |  | Sample Assay ABC - Component 2
|  | Standard B |  | Powder Weight
Dissolution component 2 |  | Desired Weight |  | Sample A
1 |  | Concetration |  | Sample B
2 |  | Assay Standards 4 |  | Sample C
3 |  | Standard A |  | API Weight
4 |  | Standard B |  | Sample A
5 |  | Desired Weight |  | Sample B
6 |  | Concetration |  | Sample C
|  | Assay Standards 5 |  | Desired Weight Sample ABC
Dissolution component 3 |  | Standard A |  | Powder Weight |  | ASSAY SAMPLE PEAK AREAS
1 |  | Standard B |  | API Weight |  |  | paracetamol
2 |  | Desired Weight |  | Sample Assay ABC - Component 3 |  |  | 15
3 |  | Concetration |  | Powder Weight |  |  | 1256
4 |  |  |  | Sample A |  |  | 125
5 |  | ASSAY STANDARDS REPEATS |  | Sample B |  |  | 568
6 |  |  |  | Sample C |  |  | 458
|  |  |  | API Weight |  |  | 5658
Dissolution component 4 |  |  |  | Sample A |  |  | 458
1 |  | Assay Standards 1 repeat |  | Sample B |  |  | 965
2 |  | Standard A |  | Sample C |  |  | 2658
3 |  | Standard B |  | Desired Weight Sample ABC
4 |  | Desired Weight |  | Powder Weight
5 |  | Concetration |  | API Weight
6 |  | Assay Standards 2 repeat |  | Sample Assay ABC - Component 4
Dissolution Tablet/Capsule Weights |  | Standard A |  | Powder Weight
Dissolution component 5 |  | Standard B |  | Sample A
1 |  | Desired Weight |  | Sample B
2 |  | Concetration |  | Sample C
3 |  | Assay Standards 3 repeat |  | API Weight
4 |  | Standard A |  | Sample A
5 |  | Standard B |  | Sample B
6 |  | Desired Weight |  | Sample C
|  | Concetration |  | Desired Weight Sample ABC
DISSOLUTION REPEAT |  | Assay Standards 4 repeat |  | Powder Weight
Dissolution Tablet/Capsule Weights Component 1 |  | Standard A |  | API Weight |  | DISSOLUTION ABSORBANCES/AREAS
Tablet/Capsule |  | Standard B |  | Sample Assay ABC - Component 5 |  | paracetamol
1 |  | Desired Weight |  | Powder Weight |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
2 |  | Concetration |  | Sample A |  | 30 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0
3 |  | Assay Standards 5 repeat |  | Sample B |  | 125
4 |  | Standard A |  | Sample C |  | 125
5 |  | Standard B |  | API Weight |  | 125
6 |  | Desired Weight |  | Sample A |  | 125
|  | Concetration |  | Sample B |  | 125
Dissolution component 2 |  |  |  | Sample C |  | 153
1 |  |  |  | Desired Weight Sample ABC
2 |  |  |  | Powder Weight
3 |  |  |  | API Weight |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
4 | [5 empty] | Time 1 | Time 2 | Time3 | Time 4 | Time 5 | Time 1 | Time 2 | Time3 | Time 4 | Time 5
5 |  |  |  | SAMPLE ASSAY REPEAT
6
Sample Assay ABC - Component 1
Dissolution component 3 |  |  |  | Powder Weight
1 |  |  |  | Sample A
2 |  |  |  | Sample B
3 |  |  |  | Sample C
4 |  |  |  | API Weight
5 |  |  |  | Sample A |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
6 |  |  |  | Sample B |  | Time 1 | Time 2 | Time3 | Time 4 | Time 5 | Time 1 | Time 2 | Time3 | Time 4 | Time 5
Sample C
Dissolution component 4 |  |  |  | Desired Weight Sample ABC
1 |  |  |  | Powder Weight
2 |  |  |  | API Weight
3 |  |  |  | Sample Assay ABC - Component 2
4 |  |  |  | Powder Weight
5 |  |  |  | Sample A
6 |  |  |  | Sample B
Dissolution Tablet/Capsule Weights |  |  |  | Sample C |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
Dissolution component 5 |  |  |  | API Weight |  | Time 1 | Time 2 | Time3 | Time 4 | Time 5 | Time 1 | Time 2 | Time3 | Time 4 | Time 5
1 |  |  |  | Sample A
2 |  |  |  | Sample B
3 |  |  |  | Sample C
4 |  |  |  | Desired Weight Sample ABC
5 |  |  |  | Powder Weight
6 |  |  |  | API Weight
Sample Assay ABC - Component 3
| REPEAT VALUES |  |  | Powder Weight
Other Dissolution Data for components and repeats | paracetamol |  |  | Sample A |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
Desired Weight | 0 |  |  | Sample B |  | Time 1 | Time 2 | Time3 | Time 4 | Time 5 | Time 1 | Time 2 | Time3 | Time 4 | Time 5
Standard A | 5 |  |  | Sample C
Standard B | 9 |  |  | API Weight
Concetration | 0.14 |  |  | Sample A
Tablet Average Weight | 20937.5 |  |  | Sample B
| Component 2 |  |  | Sample C
Other Dissolution Data |  |  |  | Desired Weight Sample ABC
Desired Weight |  |  |  | Powder Weight
Standard A |  |  |  | API Weight
Standard B |  |  |  | Sample Assay ABC - Component 4
Concetration |  |  |  | Powder Weight
Tablet Average Weight |  |  |  | Sample A |  | DISSOLUTION STD AREAS/ABSORBANCES
| Component 3 |  |  | Sample B |  |  | paracetamol
Other Dissolution Data |  |  |  | Sample C |  |  | 124
Desired Weight |  |  |  | API Weight |  |  | 125
Standard A |  |  |  | Sample A |  |  | 12
Standard B |  |  |  | Sample B |  |  | 6
Concetration |  |  |  | Sample C |  |  | 15
Tablet Average Weight |  |  |  | Desired Weight Sample ABC |  |  | 15
| Component 4 |  |  | Powder Weight
Other Dissolution Data |  |  |  | API Weight
Desired Weight |  |  |  | Sample Assay ABC - Component 5
Standard A |  |  |  | Powder Weight
Standard B |  |  |  | Sample A
Concetration |  |  |  | Sample B
Tablet Average Weight |  |  |  | Sample C
| Component 5 |  |  | API Weight
Other Dissolution Data |  |  |  | Sample A
Desired Weight |  |  |  | Sample B
Standard A |  |  |  | Sample C
Standard B |  |  |  | Desired Weight Sample ABC
Concetration |  |  |  | Powder Weight
Tablet Average Weight |  |  |  | API Weight
LABEL CLAIMS
paracetamol | 125

## identification
Procedure | HPLC
Finding | Super-imposable peaks at RT Values x, y ± x% min. present in the sample preparation
Specification | RT of the major peaks in the sample preparation corresponds to those in the standard preparation
Worksheet No | NDQTEST!23

## diss_paracetamol
paracetamol
Tabs/Capsule Weight
|  |  |  | No. | Tabs/Capsule Weights (mg)
|  |  |  | 1 | 125
|  |  |  | 2 | 125
|  |  |  | 3 | 125
|  |  |  | 4 | 125
|  |  |  | 5 | 125125
|  |  |  | 6 | 0
|  |  |  | Total | FALSE
|  |  |  | Mean | 10000
Dissolution Conditions
n Run
[5 empty] | Dissolution Medium |  | Water | FALSE
[5 empty] | Volume Used |  | 900 | FALSE
[5 empty] | Apparatus |  | 2 | FALSE
[5 empty] | Rotations Per minute |  | 40 rpm | 0rpm
[5 empty] | Time Taken |  | 30 | FALSE
|  |  |  | Subsequent Dillutions | [10 empty] | Subsequent Dillutions Buffer
| Label Claim | Volume Used | pipette1 | vf1 | pipette2 | vf2 | pipette3 | vf3 | pipette4 | vf4 | Concetration | Label Claim | Volume Used | pipette1 | vf1 | pipette2 | vf2 | pipette3 | vf3 | pipette4 | vf4 | Concetration
Desired Concetration | 125 | 900 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0.13889 |  |  | 1 | FALSE | 1 | 1 | 1 | 1 | 1 | 1 | 0
| Powder Weight | API Weight | vf1 | pipette1 | vf2 | pipette2 | vf3 | pipette3 | vf4 |  | Concetration
Desired Weight | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.13889
Standard A | 5 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0.5
Standard B | 9 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0.9
| Worksheet No | NDQTEST!23

## paracetamol
paracetamol
Standard Preparation For Assay
| Weight | vf1 | pipette1 | vf2 | pipette2 | vf3 | pipette3 | vf4 |  | Concetration
Desired Weight | 5.69 | 10 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.569
Standard A | 5 | 10 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.5
Standard B | 9 | 10 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.9
Sample Preparation For Assay
| Powder Weight | API Weight | vf1 | pipette1 | vf2 | pipette2 | vf3 | pipette3 | vf4 |  | Concetration
Desired Weight | 5.69 | 5.69 | 10 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.569
Sample A | 5.69 | 5.69 | 10 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.569
Sample B | 5 | 5 | 10 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.5
Sample C | 6 | 6 | 10 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.6
|  |  | Label Claim |  | 125
|  |  | Tabs or Caps Average |  | 125
|  |  | Procedure Used |  | 0

## uniformity
Tablets(mg) | Percentage Deviation
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
Worksheet No | NDQTEST!23