## Template
Analysis Report
Sample Name: | PANADOL
Laboratory Ref No: | TESTSAMPLE1
Active Ingredient: | Paracetamol
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Date Analysis Started: | 2014-08-11 09:48:41
Date Analysis Completed:
Analysis Data
Reference Substance: | Cefaclor Monohydrate
Code: | NQCL-WRS-C8-1
% age Purity: | 101.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 101.6
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 12345 | 12146.8966 | 12342 | 266.77
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 12344 | 12145.9127 | 12341 | 266.7484
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 12343 | 12144.9287 | 12340 | 266.7268
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 569852 | 12145.9127 | 545 | 266.7484
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 98.68 |  | 98.95
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 98.68 |  | 454
Standard Dilution Factor | 100 | Purity correction: | 100.2589 |  | 4564
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 1.0026 |  | 6646
|  | Desired Concetration (mg/mL): | 0.9865
|  | Desired Weight (mg): | 98.65
|  | Average Normalised Response: | 6206.3305
|  | RSD: | 104.8%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Each tablet contains | 250 | Paracetamol
Average tablet Content Weight (mg): | 125
Initial Sample dilution | 98.65 |  | Powder Weight (mg) | Injection | Response: | Amt per tablet (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 100 | Assay Smp A | 49.65 | 1 | 986589 | 389.481 | 155.8%
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 986588 | 389.4806 | 155.8%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 986587 | 389.4802 | 155.8%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 48.68 | 1 | 986586 | 397.2406 | 158.9%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 986585 | 397.2402 | 158.9%
4th Dilution Sample Transfer Volume (mL): | 1 |  | 1 | 3 | 986584 | 397.2398 | 158.9%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.9865 | Assay Smp C | 47.65 | 1 | 986583 | 405.8261 | 162.3%
Desired Sample Weight (mg) | 0.48659 |  |  | 2 | 986582 | 405.8257 | 162.3%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 986581 | 405.8253 | 162.3%
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 159%
[6 empty] | RSD: | 1.781%
[6 empty] | n: | 9
Comment | The content of | Paracetamol |  | in the sample as a percentage of the stated label claim is |  | 159%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Cefaclor Monohydrate
Code: | NQCL-WRS-C8-1
% age Purity: | 101.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 101.6
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 1 | 0.054681 | 1 | 0.054681
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 1 | 0.054681 | 1 | 0.054681
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 1 | 0.054681 | 1 | 0.054681
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 1 | 0.054681 | 1 | 0.054681
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 1 |  | 1
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 1 |  | 1
Standard Dilution Factor | 1 | Purity correction: | 1.016 |  | 1.016
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 1.016 |  | 1.016
|  | Desired Concetration (mg/mL): | 250
|  | Desired Weight (mg): | 0.055556
|  | Average Normalised Peak Area: | 0.054681
|  | RSD: | 0%
|  | n: | 6
Medium Volume (mL): | 1 | tablet No. | 900 | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 1 | 4571.9634 | 1829%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 1 | 4571.9634 | 1829%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 1 | 4571.9634 | 1829%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 1 | 4571.9634 | 1829%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 1 | 4571.9634 | 1829%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 1 | 4571.9634 | 1829%
4th Dilution Sample Transfer Volume (mL): | 1 |  | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 1829%
Sample Dilution Factor | 1 |  |  | RSD: | 0%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:

## uniformity
TESTSAMPLE1
Tablet weight
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
125 | 0%
2500
125 | 115.625
134.375