## uniformity
WORKTEST
Tablet weight
250 | -0.1199%
254 | 1.478%
235 | -6.113%
250 | -0.1199%
254 | 1.478%
250 | -0.1199%
254 | 1.478%
256 | 2.277%
250 | -0.1199%
250 | -0.1199%
0
0
0
0
0
0
0
0
0
0
2503
250.3 | 237.785
262.815

## AD_Paracetamol
Analysis Report
Sample Name: | PANADOL
Laboratory Ref No: | WORKTEST
Active Ingredient: | Paracetamol
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Date Analysis Started: | 2014-08-12 12:18:54
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 656 | 0 | 565 | 6.1031
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 565 | 0 | 565 | 6.1031
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 565 | 0 | 5656 | 61.0957
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 569852 | 0 | 545 | 24.434
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 66 |  | 565
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 66 |  | 454
Standard Dilution Factor | 50 | Purity correction: | 0 |  | 4564
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 6646
|  | Desired Concetration (mg/mL): | 0.986
|  | Desired Weight (mg): | 49.3
|  | Average Normalised Response: | 24.434
|  | RSD: | 129.9%
|  | n: | 3
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Each tablet contains | 250 | Paracetamol
Average tablet Content Weight (mg): | 250.3
Initial Sample dilution | 49.3 |  | Powder Weight (mg) | Injection | Response: | Amt per tablet (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 50 | Assay Smp A | 646 | 1 | 56 | 0.86333 | 0.3453%
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 565 | 8.7104 | 3.484%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 56 | 0.86333 | 0.3453%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 64 | 1 | 56 | 8.7142 | 3.486%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 56 | 8.7142 | 3.486%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 56 | 8.7142 | 3.486%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.986 | Assay Smp C | 64 | 1 | 56 | 8.7142 | 3.486%
Desired Sample Weight (mg) | 0.97336 |  |  | 2 | 5656 | 880.1369 | 352.1%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 56 | 8.7142 | 3.486%
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 41.52%
[6 empty] | RSD: | 280.5%
[6 empty] | n: | 9
Comment | The content of | Paracetamol |  | in the sample as a percentage of the stated label claim is |  | 41.52%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 1 | 0 | 1 | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 1 | 0 | 1 | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 1 | 0 | 1 | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 1 | 0 | 1 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 1 |  | 1
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 1 |  | 1
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 250
|  | Desired Weight (mg): | 0.055556
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | tablet No. |  | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 1 | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 | 1 | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 1 | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 1 | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 1 | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 1 | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:

## AD_Paracetamol 1
Analysis Report
Sample Name: | PANADOL
Laboratory Ref No: | WORKTEST
Active Ingredient: | Paracetamol
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Date Analysis Started: | 2014-08-12 12:18:54
Date Analysis Completed:
Analysis Data
Reference Substance: | Paracetamol
Code: | NQCL-WRS-P1-1
% age Purity: | 99.65
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.65
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 656 | 977.4818 | 565 | 12.1319
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 565 | 841.886 | 565 | 12.1319
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 565 | 841.886 | 5656 | 121.4479
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 569852 | 887.0846 | 545 | 48.5706
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 66 |  | 565
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 66 |  | 454
Standard Dilution Factor | 100 | Purity correction: | 65.769 |  | 4564
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.65769 |  | 6646
|  | Desired Concetration (mg/mL): | 0.98
|  | Desired Weight (mg): | 98
|  | Average Normalised Response: | 467.8276
|  | RSD: | 99.11%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Each tablet contains | 250 | Paracetamol
Average tablet Content Weight (mg): | 250.3
Initial Sample dilution | 49.3 |  | Powder Weight (mg) | Injection | Response: | Amt per tablet (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 50 | Assay Smp A | 646 | 1 | 56 | 0.044816 | 0.01793%
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 565 | 0.45216 | 0.1809%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 56 | 0.044816 | 0.01793%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 64 | 1 | 56 | 0.45236 | 0.1809%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 56 | 0.45236 | 0.1809%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 56 | 0.45236 | 0.1809%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.986 | Assay Smp C | 64 | 1 | 56 | 0.45236 | 0.1809%
Desired Sample Weight (mg) | 0.96744 |  |  | 2 | 5656 | 45.6886 | 18.28%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 56 | 0.45236 | 0.1809%
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 2.155%
[6 empty] | RSD: | 280.5%
[6 empty] | n: | 9
Comment | The content of | Paracetamol |  | in the sample as a percentage of the stated label claim is |  | 2.155%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Paracetamol
Code: | NQCL-WRS-P1-1
% age Purity: | 99.65
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.65
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 1 | 0.055751 | 1 | 0.055751
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 1 | 0.055751 | 1 | 0.055751
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 1 | 0.055751 | 1 | 0.055751
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 1 | 0.055751 | 1 | 0.055751
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 1 |  | 1
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 1 |  | 1
Standard Dilution Factor | 1 | Purity correction: | 0.9965 |  | 0.9965
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.9965 |  | 0.9965
|  | Desired Concetration (mg/mL): | 250
|  | Desired Weight (mg): | 0.055556
|  | Average Normalised Peak Area: | 0.055751
|  | RSD: | 1.363e-14%
|  | n: | 6
Medium Volume (mL): | 1 | tablet No. |  | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 1 | 4484.2141 | 1794%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 1 | 4484.2141 | 1794%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 1 | 4484.2141 | 1794%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 1 | 4484.2141 | 1794%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 1 | 4484.2141 | 1794%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 1 | 4484.2141 | 1794%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 1794%
Sample Dilution Factor | 1 |  |  | RSD: | 0%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:

## AD_Paracetamol 2
Analysis Report
Sample Name: | PANADOL
Laboratory Ref No: | WORKTEST
Active Ingredient: | Paracetamol
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Date Analysis Started: | 2014-08-12 12:18:54
Date Analysis Completed:
Analysis Data
Reference Substance: | Paracetamol
Code: | NQCL-WRS-P1-1
% age Purity: | 99.65
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.65
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 35426 | 34947.607 | 458462 | 1940.4073
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 65852 | 64962.7341 | 458253 | 1939.5227
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 96587 | 95282.6885 | 652453 | 2761.4601
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 569852 | 65064.3432 | 545 | 2213.7967
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 19.65 |  | 20.2
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 19.65 |  | 454
Standard Dilution Factor | 20 | Purity correction: | 19.5812 |  | 4564
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.97906 |  | 6646
|  | Desired Concetration (mg/mL): | 0.96584
|  | Desired Weight (mg): | 19.3168
|  | Average Normalised Response: | 33639.07
|  | RSD: | 117%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film-coated tablet contains Efavirenz USP 600mg
Each tablet contains | 250 | Paracetamol
Average tablet Content Weight (mg): | 250.3
Initial Sample dilution | 48.29 |  | Powder Weight (mg) | Injection | Response: | Amt per tablet (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 50 | Assay Smp A | 49.658 | 1 | 789562 | 110.3586 | 44.14%
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 458569 | 64.0951 | 25.64%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 574568 | 80.3085 | 32.12%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 48.253 | 1 | 541256 | 77.8552 | 31.14%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 996523 | 143.3416 | 57.34%
4th Dilution Sample Transfer Volume (mL): | 1 |  | 1 | 3 | 788542 | 113.4253 | 45.37%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.9658 | Assay Smp C | 48.589 | 1 | 554478 | 79.2056 | 31.68%
Desired Sample Weight (mg) | 0.93393 |  |  | 2 | 789586 | 112.79 | 45.12%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 958421 | 136.9076 | 54.76%
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 40.81%
[6 empty] | RSD: | 27.4%
[6 empty] | n: | 9
Comment | The content of | Paracetamol |  | in the sample as a percentage of the stated label claim is |  | 40.81%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Paracetamol
Code: | NQCL-WRS-P1-1
% age Purity: | 99.65
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.65
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 1 | 0.055751 | 1 | 0.055751
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 1 | 0.055751 | 1 | 0.055751
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 1 | 0.055751 | 1 | 0.055751
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 1 | 0.055751 | 1 | 0.055751
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 1 |  | 1
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 1 |  | 1
Standard Dilution Factor | 1 | Purity correction: | 0.9965 |  | 0.9965
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.9965 |  | 0.9965
|  | Desired Concetration (mg/mL): | 250
|  | Desired Weight (mg): | 0.055556
|  | Average Normalised Peak Area: | 0.055751
|  | RSD: | 1.363e-14%
|  | n: | 6
Medium Volume (mL): | 1 | tablet No. |  | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 1 | 4484.2141 | 1794%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 1 | 4484.2141 | 1794%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 1 | 4484.2141 | 1794%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 1 | 4484.2141 | 1794%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 1 | 4484.2141 | 1794%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 1 | 4484.2141 | 1794%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 1794%
Sample Dilution Factor | 1 |  |  | RSD: | 0%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By: