## Sample Summary
Sample Name: | panadol
Laboratory Ref No: | whatnow
Active Ingredient: | panadol
Label Claim
Date Analysis Completed:
ASSAY | Sample1 | Sample2 | Component 3 | Component 4 | Component 5
Average | [5 empty] | Sample Concetration |  | 0.695
Rsd
n
DISSOLUTION | [5 empty] | ASSAY STD PEAK AREAS
Average | [6 empty] | Sample1 |  |  | Sample2
Rsd | [6 empty] | a |  |  | a1 | [5 empty] | PASTE YOUR WORKSHEET HERE
n | [5 empty] | Standard A | b |  |  | b1
|  |  |  | Sample Assay - Sample1 |  |  | c |  |  | c1
Uniformity of Weight |  | Assay Standards - Sample1 |  | Powder Weight |  |  | d |  |  | d1
Tablet/Caps Average Weight | 125 | Standard A | 15 | Sample A | 11.23 | Standard B | e |  |  | e1
|  | Standard B | 16 | Sample B | 11.56 |  | f |  |  | f1
|  | Desired Weight | 14 | Sample C | 11.96
Dissolution Tablet/Capsule Weights Component 1 |  | Concetration | 0.56 | API Weight
Tablet/Capsule |  | Assay Standards - Sample2 |  | Sample A | 11.23
1 | 125 | Standard A | 15 | Sample B | 11.56
2 | 125 | Standard B | 16 | Sample C | 11.96
3 | 125 | Desired Weight | 17.38 | Desired Weight Sample ABC
4 | 125 | Concetration | 0.695 | Powder Weight | 11.2
5 | 125 | Assay Standards 3 |  | API Weight | 11.2
6 | 125 | Standard A |  | Sample Assay - Sample2
|  | Standard B |  | Powder Weight
Dissolution component 2 | 125 | Desired Weight |  | Sample A | 11.23
1 | 125 | Concetration |  | Sample B | 11.56
2 | 125 | Assay Standards 4 |  | Sample C | 11.96
3 | 125 | Standard A |  | API Weight
4 | 125 | Standard B |  | Sample A | 11.68
5 | 125 | Desired Weight |  | Sample B | 12.02
6 | 125 | Concetration |  | Sample C | 12.44
|  | Assay Standards 5 |  | Desired Weight Sample ABC
Dissolution component 3 |  | Standard A |  | Powder Weight | 10.7692 | ASSAY SAMPLE PEAK AREAS
1 |  | Standard B |  | API Weight | 11.2 |  | Sample1 |  |  | Sample2
2 |  | Desired Weight |  | Sample Assay ABC - Component 3 |  |  | g |  |  | g1
3 |  | Concetration |  | Powder Weight |  |  | h |  |  | h1
4 |  |  |  | Sample A |  |  | i |  |  | i1
5 |  | ASSAY STANDARDS REPEATS |  | Sample B |  |  | j |  |  | j1
6 |  |  |  | Sample C |  |  | k |  |  | k1
|  |  |  | API Weight |  |  | l |  |  | l1
Dissolution component 4 |  |  |  | Sample A |  |  | m |  |  | m1
1 |  | Assay Standards 1 repeat |  | Sample B |  |  | n |  |  | n1
2 |  | Standard A |  | Sample C |  |  | o |  |  | o1
3 |  | Standard B |  | Desired Weight Sample ABC
4 |  | Desired Weight |  | Powder Weight
5 |  | Concetration |  | API Weight
6 |  | Assay Standards 2 repeat |  | Sample Assay ABC - Component 4
Dissolution Tablet/Capsule Weights |  | Standard A |  | Powder Weight
Dissolution component 5 |  | Standard B |  | Sample A
1 |  | Desired Weight |  | Sample B
2 |  | Concetration |  | Sample C
3 |  | Assay Standards 3 repeat |  | API Weight
4 |  | Standard A |  | Sample A
5 |  | Standard B |  | Sample B
6 |  | Desired Weight |  | Sample C
|  | Concetration |  | Desired Weight Sample ABC
DISSOLUTION REPEAT |  | Assay Standards 4 repeat |  | Powder Weight
Dissolution Tablet/Capsule Weights Component 1 |  | Standard A |  | API Weight |  | DISSOLUTION ABSORBANCES/AREAS
Tablet/Capsule |  | Standard B |  | Sample Assay ABC - Component 5 |  | Sample1
1 |  | Desired Weight |  | Powder Weight |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
2 |  | Concetration |  | Sample A |  | 30 | 40 | 50 | 0 | 0 | 30 | 40 | 50 | 0 | 0
3 |  | Assay Standards 5 repeat |  | Sample B |  | 1 | 2 | 3
4 |  | Standard A |  | Sample C |  | 4 | 5 | 6
5 |  | Standard B |  | API Weight |  | 7 | 8 | 9
6 |  | Desired Weight |  | Sample A |  | 10 | 11 | 12
|  | Concetration |  | Sample B |  | 13 | 14 | 15
Dissolution component 2 |  |  |  | Sample C |  | 16 | 17 | 18
1 |  |  |  | Desired Weight Sample ABC
2 |  |  |  | Powder Weight |  | Sample2
3 |  |  |  | API Weight |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
4 | [5 empty] | 30 | 40 | 50 | 0 | 0 | 30 | 40 | 50 | 0 | 0
5 |  |  |  | SAMPLE ASSAY REPEAT |  | 1 | 2 | 3
6 | [5 empty] | 4 | 5 | 6
|  |  |  | Sample Assay ABC - Component 1 |  | 7 | 8 | 9
Dissolution component 3 |  |  |  | Powder Weight |  | 10 | 11 | 12
1 |  |  |  | Sample A |  | 13 | 14 | 15
2 |  |  |  | Sample B |  | 16 | 17 | 18
3 |  |  |  | Sample C
4 |  |  |  | API Weight
5 |  |  |  | Sample A |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
6 |  |  |  | Sample B |  | Time 1 | Time 2 | Time3 | Time 4 | Time 5 | Time 1 | Time 2 | Time3 | Time 4 | Time 5
Sample C
Dissolution component 4 |  |  |  | Desired Weight Sample ABC
1 |  |  |  | Powder Weight
2 |  |  |  | API Weight
3 |  |  |  | Sample Assay ABC - Component 2
4 |  |  |  | Powder Weight
5 |  |  |  | Sample A
6 |  |  |  | Sample B
Dissolution Tablet/Capsule Weights |  |  |  | Sample C |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
Dissolution component 5 |  |  |  | API Weight |  | Time 1 | Time 2 | Time3 | Time 4 | Time 5 | Time 1 | Time 2 | Time3 | Time 4 | Time 5
1 |  |  |  | Sample A
2 |  |  |  | Sample B
3 |  |  |  | Sample C
4 |  |  |  | Desired Weight Sample ABC
5 |  |  |  | Powder Weight
6 |  |  |  | API Weight
Sample Assay ABC - Component 3
| REPEAT VALUES |  |  | Powder Weight
Other Dissolution Data for components and repeats |  |  |  | Sample A |  | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5 | RUN 1 | RUN 2 | RUN 3 | RUN 4 | RUN 5
Desired Weight | 13.89 |  |  | Sample B |  | Time 1 | Time 2 | Time3 | Time 4 | Time 5 | Time 1 | Time 2 | Time3 | Time 4 | Time 5
Standard A | 15 |  |  | Sample C
Standard B | 16 |  |  | API Weight
Concetration | 0.14 |  |  | Sample A
Tablet Average Weight | 125 |  |  | Sample B
| Sample2 |  |  | Sample C
Other Dissolution Data |  |  |  | Desired Weight Sample ABC
Desired Weight | 13.89 |  |  | Powder Weight
Standard A | 15 |  |  | API Weight
Standard B | 16 |  |  | Sample Assay ABC - Component 4
Concetration | 0.14 |  |  | Powder Weight
Tablet Average Weight | 125 |  |  | Sample A |  | DISSOLUTION STD AREAS/ABSORBANCES
| Component 3 |  |  | Sample B |  |  | Sample1 |  |  | Sample2
Other Dissolution Data |  |  |  | Sample C |  |  | a |  |  | a1
Desired Weight |  |  |  | API Weight |  |  | b |  |  | b1
Standard A |  |  |  | Sample A |  |  | c |  |  | c1
Standard B |  |  |  | Sample B |  |  | d |  |  | d1
Concetration |  |  |  | Sample C |  |  | e |  |  | e1
Tablet Average Weight |  |  |  | Desired Weight Sample ABC |  |  | f |  |  | f1
| Component 4 |  |  | Powder Weight
Other Dissolution Data |  |  |  | API Weight
Desired Weight |  |  |  | Sample Assay ABC - Component 5
Standard A |  |  |  | Powder Weight
Standard B |  |  |  | Sample A
Concetration |  |  |  | Sample B
Tablet Average Weight |  |  |  | Sample C
| Component 5 |  |  | API Weight
Other Dissolution Data |  |  |  | Sample A
Desired Weight |  |  |  | Sample B
Standard A |  |  |  | Sample C
Standard B |  |  |  | Desired Weight Sample ABC
Concetration |  |  |  | Powder Weight
Tablet Average Weight |  |  |  | API Weight
LABEL CLAIMS
Sample1 | 125
Sample2 | 130

## identification
Procedure | HPLC
Finding | Super-imposable peaks at RT Values y ± x% min. present in the sample preparation
Specification | RT of the major peaks in the sample preparation corresponds to those in the standard preparation
Worksheet No | whatnow

## diss_Sample1
Sample1
Tabs/Capsule Weight
|  |  |  | No. | Tabs/Capsule Weights (mg)
|  |  |  | 1 | 125
|  |  |  | 2 | 125
|  |  |  | 3 | 125
|  |  |  | 4 | 125
|  |  |  | 5 | 125
|  |  |  | 6 | 125
|  |  |  | Total | FALSE
|  |  |  | Mean | 125
Dissolution Conditions
n Run
[5 empty] | Dissolution Medium |  | water | FALSE
[5 empty] | Volume Used |  | 900 | FALSE
[5 empty] | Apparatus |  | 2 | FALSE
[5 empty] | Rotations Per minute |  | 40 rpm | 0rpm
[5 empty] | Time Taken |  | 30 | FALSE
|  |  |  | Subsequent Dillutions | [10 empty] | Subsequent Dillutions Buffer
| Label Claim | Volume Used | pipette1 | vf1 | pipette2 | vf2 | pipette3 | vf3 | pipette4 | vf4 | Concetration | Label Claim | Volume Used | pipette1 | vf1 | pipette2 | vf2 | pipette3 | vf3 | pipette4 | vf4 | Concetration
Desired Concetration | 125 | 900 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0.13889 |  |  | 1 | FALSE | 1 | 1 | 1 | 1 | 1 | 1 | 0
| Powder Weight | API Weight | vf1 | pipette1 | vf2 | pipette2 | vf3 | pipette3 | vf4 |  | Concetration
Desired Weight | 13.89 | 100 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.13889
Standard A | 15 | 100 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0.15
Standard B | 16 | 100 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0.16
| Worksheet No | whatnow

## diss_Sample2
Sample2
Tabs/Capsule Weight
|  |  |  | No. | Tabs/Capsule Weights (mg)
|  |  |  | 1 | 125
|  |  |  | 2 | 125
|  |  |  | 3 | 125
|  |  |  | 4 | 125
|  |  |  | 5 | 125
|  |  |  | 6 | 125
|  |  |  | Total | FALSE
|  |  |  | Mean | 125
Dissolution Conditions
n Run
[5 empty] | Dissolution Medium |  | water | FALSE
[5 empty] | Volume Used |  | 900 | FALSE
[5 empty] | Apparatus |  | 2 | FALSE
[5 empty] | Rotations Per minute |  | 40 rpm | 0rpm
[5 empty] | Time Taken |  | 30 | FALSE
|  |  |  | Subsequent Dillutions | [10 empty] | Subsequent Dillutions Buffer
| Label Claim | Volume Used | pipette1 | vf1 | pipette2 | vf2 | pipette3 | vf3 | pipette4 | vf4 | Concetration | Label Claim | Volume Used | pipette1 | vf1 | pipette2 | vf2 | pipette3 | vf3 | pipette4 | vf4 | Concetration
Desired Concetration | 130 | 900 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0.13889 |  |  | 1 | FALSE | 1 | 1 | 1 | 1 | 1 | 1 | 0
| Powder Weight | API Weight | vf1 | pipette1 | vf2 | pipette2 | vf3 | pipette3 | vf4 |  | Concetration
Desired Weight | 13.89 | 100 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.13889
Standard A | 15 | 25 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0.6
Standard B | 16 | 25 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0.64
| Worksheet No | whatnow

## Sample1
Sample1
Standard Preparation For Assay
| Weight | vf1 | pipette1 | vf2 | pipette2 | vf3 | pipette3 | vf4 |  | Concetration
Desired Weight | 14 | 25 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.56
Standard A | 15 | 25 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.6
Standard B | 16 | 25 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.64
Sample Preparation For Assay
| Powder Weight | API Weight | vf1 | pipette1 | vf2 | pipette2 | vf3 | pipette3 | vf4 |  | Concetration
Desired Weight | 11.2 | 11.2 | 20 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.56
Sample A | 11.2 | 11.2 | 20 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.56
Sample B | 11.23 | 11.23 | 20 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.5615
Sample C | 11.56 | 11.56 | 20 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.578
|  |  | Label Claim |  | 125
|  |  | Tabs or Caps Average |  | 125
|  |  | Procedure Used |  | FALSE

## Sample2
Sample2
Standard Preparation For Assay
| Weight | vf1 | pipette1 | vf2 | pipette2 | vf3 | pipette3 | vf4 |  | Concetration
Desired Weight | 17.38 | 25 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.695
Standard A | 15 | 25 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.6
Standard B | 16 | 25 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.64
Sample Preparation For Assay
| Powder Weight | API Weight | vf1 | pipette1 | vf2 | pipette2 | vf3 | pipette3 | vf4 |  | Concetration
Desired Weight | 10.7692 | 11.2 | 20 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.695
Sample A | 10.7692 | 11.2 | 20 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.695
Sample B | 11.23 | 11.68 | 20 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.584
Sample C | 11.56 | 12.02 | 20 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0.601
|  |  | Label Claim |  | 130
|  |  | Tabs or Caps Average |  | 125
|  |  | Procedure Used |  | FALSE

## uniformity
Tablets(mg) | Percentage Deviation
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
125 | 0
Worksheet No | whatnow